UMP/IBBC/ANNEX 3

BSL 2 SELF INSPECTION CHECKLIST

Communitizing Technology

For IBBC use only Registration no.: Date received:

# INSTITUTIONAL BIOSAFETY & BIOSECURITY COMMITTEE (IBBC) UNIVERSITI MALAYSIA PAHANG

BSL 2 SELF-INSPECTION CHECKLIST

Instructions

- Using the checklist below, inspect your lab and note any deficiencies that need to be addressed [the Principal Investigator (PI) may assign a senior lab member or laboratory supervisor to complete the checklist but the PI must review, date and sign the checklist.

- Sign and date the completed checklist.

- If you have any questions, please contact the IBBC secretariat at biosafety@ump.edu.my

Date: Conducted by:

Principal Investigator (PI): Faculty/Department/Room no.:

  - BASIC LABORATORY – BIOSAFETY LEVEL 2

This checklist is used in addition to the Biosafety Level 1 laboratory safety checklist

# Biological Safety Cabinet (BSC)	YES	NO	N/A	COMMENTS

- Annually certified by qualified person

- BSC surface wiped down with appropriate disinfectant at beginning and end of each procedure

- Front grill and exhaust filter unobstructed

- No open flames used inside cabinet

- Vacuum lines have in-line filters and disinfectant traps in use

- Location of BSC not directly opposite entrance and below in-flow air vent

- BSC used when there is potential for creating infectious aerosols

| 2.2 Administrative Control | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| a. | Access limited and restricted to authorized personnel |  |  |  |  |
| b. | Appointment of Biosafety Officer |  |  |  |  |
| c. | Laboratory biosafety training program implemented |  |  |  |  |
| d. | Proper documentation and records (material inventory, incident reporting, etc) |  |  |  |  |
| e. | Immunization plan available |  |  |  |  |
| f. | Appropriate medical surveillance available |  |  |  |  |
| g | Biosafety manual prepared and adopted |  |  |  |  |
| h | Staff competency evaluated |  |  |  |  |
| 2.3 Laboratory |
| a. | Biohazard sign posted on laboratory door as appropriate |  |  |  |  |
| b. | Information on signage accurate, current and indicate emergency contact numbers |  |  |  |  |
| c. | Sign legible and not defaced |  |  |  |  |
| d. | All doors closed |  |  |  |  |
| g. | All windows sealed or closed permanently |  |  |  |  |
| e. | Hand-washing sink available near laboratory exit |  |  |  |  |
| 2.4 Decontamination |
| a. | Decontaminant appropriate to the organism(s) in use |  |  |  |  |
| b. | All spills and accidents involving infectious materials reported to the laboratory supervisor |  |  |  |  |
| c. | Appropriate disinfectant used during spill clean-ups |  |  |  |  |
| d. | Work surfaces decontaminated before and after each procedure, daily and after spills |  |  |  |  |
| e. | Biological spill kit available (content e.g. disinfectant should be periodically checked for expiry) |  |  |  |  |
| 2.5 Handling of Contaminated Waste |
| a. | Infectious waste should be segregated and placed in autoclavable bags |  |  |  |  |

# YES	NO	N/A	COMMENTS

- Waste containers or bags properly labelled and closed securely

- Culture stocks and other infectious waste properly decontaminated by autoclaving or chemical disinfectant before disposal

- Infectious waste containers not overfilled

- Materials decontaminated outside the laboratory transported in closed, durable, leak proof containers

- Co-mingled waste (biological waste mixed with chemical or radiological waste)/decontaminated prior to disposal according to local regulations

# Personal Protection

- Gloves worn when handling infectious material or contaminated equipment

- Face protection provided when working outside the BSC with infectious material

- Proper personal protective equipment available (gloves, gowns, goggles, etc.) and worn

# Practices

- BSC used when potential for creating infectious aerosols/splashes exists

- Personnel read, review and follow the instructions on practices and procedures, including safety or operations manual

- Procedure performed so as to minimize aerosols/splashes

- Needle-locking syringes/single-use needle- syringe units used with infectious agents

- Appropriate handling of centrifuge cups and rotors

- Infectious specimens transported outside a BSC in suitable containers

- Hands washed after removing gloves, after working with infectious agents, before leaving the laboratory

- Packaging and transportation of infectious

materials within facility and between institution should follow local guideline and international regulations

# Engineering Control	YES	NO	N/A	COMMENTS

- Autoclave is available and certified annually

- Preventive maintenance performed for equipment

Note: N/A- Not Applicable

# Other comments:

Signature and stamp of PI:	Date:

Adapted from:   Malaysia Laboratory Biosafety and Biosecurity Policy and Guideline, Ministry of Health Malaysia, 2015, 1st Edition (section 3.0 Laboratory Biosafety Checklist)